Attachment-2 (a)

(1) Q :	Please provide CLP’s reserve margin from 1981 to 1996.

A :	The CLP’s reserve margin from 1981 to 1996 are tabulated as follows:-

Year			Reserve Margin (%)

1981				27

1982				33

1983				36

1984				38

1985				38

1986				40

1987				39

1988				52

1989				40

1990				51 *

1991				47

1992				47

1993				45

1994				59

1995				46

1996				50

Notice that figures shown are financial year end figures.

*	In 1990, Castle Peak unit B4 677MW was commissioned with special Government approval to replace fuel from oil by coal to benefit the customers.

(2) Q :	Please provide, over period 1981-1996,  CLP’s Maximum Demand Forecast and actual figures, and the deviations.

A :	The Comparison of  Forecast Accuracy on Maximum Demand is shown graphically in Appendix (a) and the corresponding figures are shown in Appendix(b).

(3) Q :	Some of the Hok Un and Tsing Yi generating units were retired earlier than planned, how many years ?

A :	The Hok Un generating units were retired according to plan and there were no early retirement.

The Tsing Yi steam generating units were planned to retire over period 1996-1998 in the 1992 Financing Plan. However, in 1994, in line with the then spread deferral on Black Point units, the Tsing Yi A and Tsing Yi B steam units were retired in 1994 and 1995 respectively for economic and environmental reasons.

Attachment-2( b)

(4) Q :	In building Black Point Power Station, under the Scheme of Control Agreement, how much on asset will be increased for CLP and CAPCO ?

For the whole project, how much was invested in civil, common equipment and plant?

A :	The planned budget for Black Point Power Station is HK$ 23,697 million. Asset for CAPCO will be increased when the concerned amount is spent and will start depreciation when the equipment is commissioned. The budget summary for Black Point Power Station is as follows.

HK$m

Land and Civil			  4,000

Plant					10,855

Erection and Commissioning		  3,998

Financing Charges			  2,588

Contingency				  1,256

Total					23,697

Budget for common equipment is HK$ 6,705 million.

(5) Q :	Please provide from 1981 to 1996, CLP’s sales to domestic, manufacturing, commercial and government & others ( in GWh) and the their increase/decrease situation

A :	The Historical Sales to CLP Local Customers from 1981 to 1996 are shown in Appendix(c), and the variations are shown in Appendix(d).

(6) Q :	How much are the production costs for Daya Bay nuclear and pumped storage power stations ? How much is the production cost for Hong Kong generation ?

A :	The information on production costs are commercial sensitive information and we are unable to provide.

(7) Q :	What are the CLP purchase prices per unit for the nuclear and pumped storage generation ?

A :	Again, the purchase prices concerned are commercial sensitive and we are unable to provide.

(8) Q :	Would CLP elaborate or explain the purchase of natural gas contract ( including period, price and quantity) ? If Black Point units 5 - 8 were deferred, can CLP reduce the purchase of natural gas ?

A :	Purchase of natural gas started on 1st January 1996 and for 20 years. We are unable to provide the price of natural gas as we are bound by the gas contract. However, a lot gas related information have already been provided to Government for monitoring our operation purpose. If Black Point units 5 - 8 were deferred, CAPCO cannot reduce the quantity as purchase  is on a take-or-pay basis.

# Text boxes

CB(1)605/96-97(01)